## Slide 1: Data Techniques for Engineers and Scientists
J.D. Landgrebe
Dept. of Chemical Engineering
University of Delaware

## Slide 2: Lecture Outline Temp
Baseline Software for engineering work – data analysis and modeling
Exercise: install Anaconda/run intro to Pandas
Understand available Python packages for general work (and understand Anaconda interaction with them)
Nomenclature and data architecture for experiments
What is experiment Curation?
Data reshaping techniques Joining and summarizing an experiment –
Exercise with JMP Tables menu – Join, Concatenate
Parsing raw data – Exercise
Work a case study of analyzing an experiment – TBD based on Will input

## Slide 3: Software for Engineers
Pick software by “use case” and use each software in its “lane” where it is best tool for the job
“Use cases” is a useful way of compartmentalizing tasks or activities in software
Use cases start with “I need to…” (or “my customer needs to…”)
  My supervisor needs to be able to scroll through our raw data to understand the results
  I need to create a correlation matrix for my raw material’s quality data
  I need to build a validated calculation model for reaction kinetics
Use case focus
  Avoids getting (yourself and others) distracted by things that software X is not good at – there is no perfect software tool
  Puts a premium on making data portable across applications

## Slide 4: Generalist Engineer/Scientist Software Recos by Use Case
JMP® software - design of experiments (DOE), exploratory analysis and data visualization with accompanying statistical analysis
Microsoft Excel® - make data usable by others, generate “end of the pipeline” reports and create spreadsheet models with calculations for use by yourself or non-coders
Python scripts for data reshaping and for developing coded models and data pipelines (possibly mixing in a little SQL)
https://datadelveengineer.com/the-right-modeling-and-analysis-tools-for-the-job/

## Slide 5: Additional Software Recommendations
Python scripting tools - build model and data cleaning scripts
  JupyterLab (Anaconda)
  VS Code script and text editor
  Github Copilot and Chat extensions VS Code ($$)
VBA Scripting Language – Excel automation
Advanced visualizations – Python Matplotlib
Github - Open sharing of projects, trainings etc.

## Slide 6: Python Libraries to Extend Functionality
Useful Python libraries for Engineers and Scientists
You can get these with Anaconda installation!!
Pandas – Data reshaping and analysis
Numpy – Numerical calculations
Pytest – Test/Validate your scripts
OpenPyXL – Format outputs in Excel
Re (Regular Expressions aka Regex) – Parse text strings

## Slide 7: Example: Python Regex Package to Extract Strings
Lab instrument software outputs IDs in string needing cleanup
regex Python package can strip out unneeded quotation marks, spaces and (not shown) file extension
(Not shown) Either regex or Python split() command can break the string into pieces using underscore characters as delimiters
Regex code for ”zero or more spaces at beginning of string”
(“ChatGPT pls help!!”)

## Slide 8: Installing Packages (AKA Libraries) In Anaconda
=
1
1a
2
3
Anaconda selects related (aka “dependent”) packages needed by the selected package
** regex is not Installed in environment named “Latest” **

## Slide 9: Exercise with Pandas or Python Regex
Exercise 1
Have students ask ChatGPT for a regex to parse a particular string
Have students try it in ChatGPT or Copilot
Try their result on some data
Exercise 2
Ask students/groups to clone Intro_To_Pandas_For_Noncoders
Run notebook with imported data
Ask summary question(s) – How many rows in x subset?

## Slide 10: Objectives Working with Experiment Data
Experiments* have a common data structure (we will call it “architecture”).
Recognizing this lets us master common data techniques to analyze efficiently and have data in good formats for graphing
Objectives
Learn reusable terms for the data elements from experiments
Learn how use software to do needed transformations to go from raw data to analyzed summary
Learn how to “curate” experimental data to make it easy to find and share
* Data don’t know whether they were generated in a lab or virtual experiment, so this applies to computer modeling data in addition to physical experiments

## Slide 11: What are Experiments?
Experiments Cover An amazing range for engineers and scientists!
Make a production or lab-scale batch of several product formulations
Run a packing line using pre-set conditions for a set amount of time
Crash a sensor-equipped car into a wall
Diaper a baby with several product designs
Drive a F1 car around a track with several various fuel mixtures
Ask a man to shave his face with 3 different types of razors on consecutive days
Make batches of cookies with different types of chocolate
Wash test, fabric swatches with different detergent formulations
Use different catalysts to run a chemical conversion with the same starting materials
Use PCR to replicate and sequence the DNA from multiple virus samples
Mop floors with mops using different cleaning solutions
Surgically implant artificial joints manufactured with different polymeric coatings

## Slide 12: What Do these have in common?
Experiments (or ”studies”…we will use synonymously) are a building block for designing and confirming products.
Experiments have “runs” consisting of one or more conditions having controlled inputs such as the starting materials and test conditions
A run can be described by a list of the “run variable” values which are the pre-set inputs and important ambient conditions recorded during the run.
Experiments generate “raw data” consisting of the original measurements to assess what happened (detailed speed versus time data for F1 car circuit around a track)
The raw data gets converted to “parameterized data” which is quantities reflecting the outcome (average speed for a complete track circuit)
Run variable values can be assembled into a “run matrix” with a single row of values for each run

## Slide 13: Experiment Data “Architecture”

## Slide 14: Why does Standard Study Nomenclature matter?
Reusable ”lens” that you can use in any context
Knowing nomenclature and architecture gives you a “seeing eye” for how to plan and organize experiments
Identifies efficient, generic ways of converting the Run Matrix and Raw Data into analyzed data and conclusions
  Parsers to convert raw data to structured tables
  “Join” and “Concatenate” to bring data together into a “Master Study File”

## Slide 15: Exercise with JMP
Data Techniques exercise with JMP tables menu for reshaping typical data – Join, Concatenate, Stack, Split
Break into groups
Ask them to work the exercises individually + together and compare notes
Study questions: Share with your group an interesting dialog box option you found
JDL demo

## Slide 16: Parsing Raw Data
“Parsing” refers to going from a repeatable non-structured format to structured rows/columns
Parsing needs to identify samples by its RunID, SampleID (e.g. sampling time/location) and AnalysisID metadata for the result to be considered “structured” (e.g. each sample’s data uniquely identified and traceable back to its source)
Study owner needs to pre-plan/intervene with lab to ensure metadata are available/parseable post-measurement!!!
Parsing requirements vary [wildly!] depending on data source
Manually-entered data are a special case because humans are very creative about how they choose to enter data
Lab instruments typically have specialized software that outputs raw and/or parameterized data

## Slide 17: Raw Data Parsing Example Data From MTS Tensile Tester Software
Testing involves pulling apart substrate(s) such as hook and loop fastener or adhesive-coated strip + landing surface
Measurement of force versus displacement while separating the materials –peak load and average load are key results
Requires multiple samples to get good data: Testing is noisy due to sample prep of joining substrates and general noise from failure testing

## Slide 18: Raw Data Parsing Example Data From MTS Tensile Tester Software
Instrument software outputs files containing data for multiple samples from a run
Raw files contain a combination of calculated parameters and raw data –we want to analyze both!!

## Slide 19: Custom Python Parser for Tensile Data
To try it with example data, clone from: https://github.com/jlandgre/Python_Curve_Parser
Parser consists of a Python Class in curve_parse.py (run with example data from Example_Parse_Files.ipynb)
Creates output files: df_params.xlsx and df_raw.xlsx

## Slide 20: JMP Analysis of Parsed Data
xxx
Run101620-2 has significantly higher Peak Load than -1 (p<0.05)
yyy

## Slide 21: Experiment Data “Architecture”

## Slide 22: Creating A “Master Study File” to Summarize an Experimental Study
Once raw data are parsed into rows/columns, we can join data and the run matrix to analyze the study
Example study data has two measurement files and Run Matrix
  ELN_19_AB1234 Measurements_Activity.csv
  ELN_19_AB1234 Measurements_pH and Viscosity.csv
  ELN_19_AB1234 Run Matrix.csv
Goal is analyze by Run Matrix variables
Need to also check within-run variability
Concatenate + Join
(in JMP or Pandas)
Master Study File
Run Matrix
Measurement Data 1
Measurement Data 2

## Slide 23: Experimental Data “Keys”
Keys [aka data nametags] make data easy to summarize and traceable
A measurement data point needs up to 6 keys to fully identify the measurement and its source
Avoid generic Run ID’s (e.g. “Run 1”) because makes difficult to combine studies
Check: Is each row identified by unique keys?
Run ID – Uniquely ID’s composition and conditions
aka Batch ID, Laundry Load ID, Panelist ID, Modeling Run ID
Sample ID – Uniquely identifies “when/where” tested material came from
Study ID – Uniquely ID’s collection of Runs; Use ELN Experiment number or created date string as StudyID
Other Keys Needed
AnalysisID – Uniquely ID’s an instance of analyzing Samples from a Run (Lab software often assigns this)
PositionID – Identifies order of data points in curve data
Analyte Name

## Slide 24: Aggregating and Summarizing Data (JMP)
Open JMP and three *.csv files in Batch Example sub-folder
To get Master Study File and Summary
  Tables/Concatenate: Measurements_Activity.csv and Measurements_pH and Viscosity.csv (Makes Temp Measurements.csv)
  Tables/Join: Run Matrix.csv and Temp Measurements.csv
  Tables/Summary
Use Master Study File for statistical analysis
Join Run Matrix with measurements
Concatenate measurements
Summarize by Run
1
2
3
4
5
6
7
1
2
3
1
2
3
4

## Slide 25: Aggregating Data (PAnDAS)
See Jupyter Notebook:
Pandas Master Study File Demo.ipynb
This performs the same concatenate and join transformations as the previous JMP example

## Slide 26: Working with Software and Experiment Data
Generalist software recos give you a toolbox for working with a broad range of engineering data
The Study Folder approach curates experiments to make them efficiently extensible and shareable
The standard architecture and templates for experiments give you a reusable cookbook for designing experiments and working with the resulting data